## BillTemplate
#BillSheetTemplate# | Bill A: | Test | [5 empty] | 0
ColHDR | PAYMENT
ColHDR | REFERS | ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT |  | RATE | AMOUNT
ColHDR | TO | NO
NOTE
ITEM |  | #NAME?
ITEM1 |  | #NAME?
ITEM2 |  | #NAME?
ITEM3
IHDR |  | #NAME?
IHDR1 |  | #NAME?
IHDR2 |  | #NAME?
IHDR3 |  | #NAME?
PB
PB |  | CARRIED FORWARD | [7 empty] | 0
PB
PB
PB |  | BROUGHT FORWARD | [7 empty] | 0
PB
#BillEnd#
#BillEnd# |  | TOTAL CARRIED TO SUMMARY PAGE | [7 empty] | 0
#BillEnd#
Notes:
The row types are not case sensitive e.g. IHDR, ihdr, iHdr, etc. are all the same
IHDR, IHDR1, IHDR2 & IHDR3
- The formats are transferred to the the bill sheet
- They can be measured items
- Rows are grouped and hidden per IHDR level. IHDR is the highest level and IHDR2 the lowest level
- All rows in a group including the IHDR will be hidden if the group does not contained measured items
ITEM, ITEM1 & ITEM2
- They all have the same effect, only the formatting differs e.g. bold, italic, underline, font, etc
NOTE
- "NOTE" is not a measured item
- Is the default format for a row and is applied to all rows that are not IHDRx or ITEMx
- Is always displayed in a hdr group
Sheet tabs are made coloured "red" if the sheet contains items with measurements and "yellow" if it does not contain measured items
A row contains measurement if the cells in columns F, G or H contains contains something
Rows with no row type (empty) are hidden during page formatting
Formulas in cells can be used for numbering, totals, summary descriptions, etc.
- A formula in a cell will be copied to the bill sheet and references to other sheets will be replaced with the relevant bill sheet
- H0No, H1No, H2No, H3No & HItNo are counters that can be inserted in a billsheet formula. These counters will be replaced with the actual values during page formatting
- Note that the cell will show #NAME? because Excel does not recognise these counters but this is expected

## SumTemplate
#SumTemplate#
| SECTION 1 | CONTRACT ADMINISTRATION AND GENERAL REQUIREMENTS | R . . . . . . . . . . . . . . . . . | 488100
Notes:
Range "SumBillRow" will be inserted for each "red" bill sheet in the summary sheet
Adjust the size of "SumBillRow" if more columns are required
Format "SumBillRow" as required and add formules as required
Use absolute references in the formules
All the sheet references (everything before "!") in the formules will be replaced with the relevant bill sheet name
Insert "returns" (Alt-Enter) in column A to make the row higher

## Info
#BillInfo# | This sheet contains info that is used to set up the page layout
LeftHeader | X
CenterHeader | Y
RightHeader | Z
LeftFooter
CenterFooter | Page &P
RightFooter | Print date: &D
FirstPageNumber | 1 | must be numeric. The page numbers of the next selected sheets follow on this number
PrintTitleRows | $1:$4 | Must be a row range e.g. "$2:$4"
LeftMargin | 2 | cm
RightMargin | 0.5 | cm
TopMargin | 1.5 | cm
BottomMargin | 1.5 | cm
HeaderMargin | 0.5 | cm
FooterMargin | 0.5 | cm
#EndBillInfo#
Use the following in headers/ footers
Code | Description
&L | Left aligns the characters that follow.
&C | Centers the characters that follow.
&R | Right aligns the characters that follow.
&E | Turns double-underline printing on or off.
&X | Turns superscript printing on or off.
&Y | Turns subscript printing on or off.
&B | Turns bold printing on or off.
&I | Turns italic printing on or off.
&U | Turns underline printing on or off.
&S | Turns strikethrough printing on or off.
&"fontname" | Prints the characters that follow in the specified font. Be sure to include the double quotation marks.
&nn | Prints the characters that follow in the specified font size. Use a two-digit number to specify a size in points.
&color | Prints the characters in the specified color. User supplies a hexidecimal color value.
&D | Prints the current date.
&T | Prints the current time.
&F | Prints the name of the document.
&A | Prints the name of the workbook tab.
&P | Prints the page number.
&P+number | Prints the page number plus the specified number.
&P-number | Prints the page number minus the specified number.
&& | Prints a single ampersand.
&N | Prints the total number of pages in the document.
&Z | Prints the file path.
&G | Inserts an image.
Notes:
First page, even page and odd pages options are not supported
Anly the parameters in this sheet will be set, other parameters will be left as is2
The first page number of the following sheet will follow the previous sheet last page number
The following parameters are important for Bill Macros to work and are forced:
PrintTitleColumns = ""
Zoom = 100
OddAndEvenPagesHeaderFooter = False
DifferentFirstPageHeaderFooter = False
CenterHorizontally = False
CenterVertically = False
Orientation = xlPortrait
Draft = False
PaperSize = xlPaperA4
PrintHeadings = False
PrintGridlines = False
PrintComments = xlPrintNoComments

## 1
#BillSheet# | [6 empty] | SECTION 1 | 488100 |  | SECTION 1
ColHDR | PAYMENT
ColHDR | REFERS | ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT |  | RATE | AMOUNT
ColHDR | TO | NO
Note |  | 1 | CONTRACT ADMINISTRATION AND GENERAL REQUIREMENTS
IHDR | C3.7- 1.19.1 | 1.1 | Contract administration and general requirements | Lump sum | 1 |  |  |  | 15000 | 15000
IHDR | C3.7- 1.19.2 | 1.2 | Setting out of works | Lump sum | 1 |  |  |  | 10000 | 10000
IHDR | C3.7- 10.5 | 1.3 | Test and commission the installation | Lump sum | 1 |  |  |  | 20000 | 20000
IHDR | C3.7- 1.19.4 | 1.4 | Provide "as built" drawings | Lump sum | 1 |  |  |  | 10000 | 10000
IHDR | C3.6.1.18.2 | 1.5 | Occupational Health and Safety File and all required documentation and registrations together with Health and Safety Representative | Lump sum | 1 |  |  |  | 50000 | 50000
IHDR | C3.6.1.18.1 | 1.6 | Provide one week of training as per the policy of the Mogalakwena Local Municipality | Prov sum | 1 | 30000 | 30000 |  | 30000 | 30000
IHDR | C3.6.1.18.3 | 1.7 | Monthly salary of CLO | Prov sum | 1 | 21000 | 21000 |  | 21000 | 21000
IHDR | C3.6.1.18.4 | 1.8 | Payments for PSC members (R160 / person / meeting) | Prov sum | 1 | 20000 | 20000 |  | 20000 | 20000
IHDR | C3.6.1.18.5 | 1.9 | Entry and exit medicals for labourers | Prov sum | 1 | 20000 | 20000 |  | 20000 | 20000
IHDR | C3.6.1.18.6 | 1.10 | Payments for Client Representative - Health and Safety Agent | Prov sum | 1 | 100000 | 100000 |  | 100000 | 100000
IHDR | C3.6.1.18.7 | 1.11 | Align and update existing cathodic protection scheme after new 33kV Line Route | Prov sum | 1 | 120000 | 120000 |  | 120000 | 120000
IHDR | C3.6.1.18.8 | 1.12 | Contractor to apply and obtain tree felling permit from Local Government for all identified trees on route | Prov sum | 1 | 15000 | 15000 |  | 15000 | 15000
IHDR | C3.6.1.18.8 | 1.13 | Pegging of Line Route as per Design | Prov sum | 1 | 25000 | 25000 |  | 25000 | 25000
IHDR | C3.6.1.18.8 | 1.14 | Handling cost and profit in respect of sub items 1.7 to 1.13 above (%) | % | 321000 |  |  |  | 0.1 | 32100
#BillEnd#
#BillEnd# | SECTION 1 | TOTAL CARRIED TO SUMMARY PAGE | [7 empty] | 488100
#BillEnd#

## 2
#BillSheet# | [6 empty] | SECTION 2 | 150000 |  | SECTION 2
ColHDR | PAYMENT
ColHDR | REFERS | ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT |  | RATE | AMOUNT
ColHDR | TO | NO
Note |  | 2 | CONTRACTOR'S ESTABLISHMENT ON SITE
IHDR |  | 2.1 | Contractor's establishment on site
item | C3.7-2.4.1.1 | 2.1.1 | Fixed Charges | Lump sum | 1 |  |  |  | 80000 | 80000
item | C3.7-2.4.1.2 | 2.1.2 | Time-related charges | Lump sum | 1 |  |  |  | 70000 | 70000
IHDR | C3.7-2.4.2 | 2.2 | Daywork
IHDR1 |  | 2.2.1 | Labour
item1 |  | 2.2.1.1 | Unskilled labourers | hr | - |  | Rate Only |  |  | rate only
item1 |  | 2.2.1.2 | Semi-skilled labourers | hr | - |  | Rate Only |  |  | rate only
item1 |  | 2.2.1.3 | Artisans | hr | - |  | Rate Only |  |  | rate only
item1 |  | 2.2.1.4 | Foreman/supervision | day | - |  | Rate Only |  |  | rate only
IHDR1 |  | 2.2.2 | Plant
IHDR2 |  | 2.2.2.1 | Compressor and jack hammers | hr | - |  | Rate Only |  |  | Rate Only
IHDR2 |  | 2.2.2.2 | Diesel driven pump | hr | - |  | Rate Only |  |  | Rate Only
IHDR2 |  | 2.2.2.3 | Trenching excavator | hr | - |  | Rate Only |  |  | Rate Only
IHDR2 |  | 2.2.2.4 | Transport - specify:
item2 |  | 2.2.2.4.1 | 8 Ton Crane Truck | day | - |  | Rate Only |  |  | rate only
item2 |  | 2.2.2.4.2 | 4 Ton Truck | day | - |  | Rate Only |  |  | rate only
item2 |  | 2.2.2.4.3 | LDV | day | - |  | Rate Only |  |  | rate only
#BillEnd#
#BillEnd# | SECTION 2 | TOTAL CARRIED TO SUMMARY PAGE | [7 empty] | 150000
#BillEnd#

## 3
#BillSheet# | [6 empty] | SECTION 3 | 103995 |  | SECTION 3
ColHDR | PAYMENT
ColHDR | REFERS | ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT |  | RATE | AMOUNT
ColHDR | TO | NO
Note |  | 3 | ACSR CONDUCTOR SUPPLY
IHDR |  | 3.1 | ACSR CONDUCTOR
Note |  |  | Supply and Delivery of , Aluminium Conductor Steel Reinforced ACSR (British Standard Sizes)
item |  | 3.1.1 | Supply of conductor HARE , three conductors per span, including complete attachment of conductors to insulators. | m | 6933 |  |  |  | 15 | 103995 | 6933
#BillEnd#
#BillEnd# | SECTION 3 | TOTAL CARRIED TO SUMMARY PAGE | [7 empty] | 103995
#BillEnd#

## 4
#BillSheet# | [6 empty] | SECTION 4 | 346860 |  | SECTION 4
ColHDR | PAYMENT
ColHDR | REFERS | ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT |  | RATE | AMOUNT
ColHDR | TO | NO
Note |  | 4 | MEDIUM VOLTAGE CABLE AND ACSR CONDUCTOR INSTALLATION
IHDR |  | 4.1 | Excavation
IHDR1 | C3.7-4.10.1.1 | 4.1.1 | Excavate in all materials for trenches, backfill, compact and dispose of surplus material | m³ | 15 |  |  |  | 50 | 750
IHDR1 | C3.7-4.10.1.2 | 4.1.2 | Excavating in hard material (Silent Blasting and/or jack hammers) | m³ | 45 |  |  |  | 250 | 11250
IHDR1 | C3.7-4.10.1.3 | 4.1.3 | Excavating by hand in all materials | m³ | 90 |  |  |  | 200 | 18000
IHDR1 |  | 4.1.4 | Extra over item 4.1.1 for using backfill material obtained from:
item1 | C3.7-4.10.1.4.A | 4.1.4.1 | Borrow areas | m³ | 25 |  |  |  | 45 | 1125 | 25
item1 | C3.7-4.10.1.4.B | 4.1.4.2 | Sources provided by the contractor | m³ | 25 |  |  |  | 150 | 3750 | 25
IHDR |  | 4.2 | String ACSR Conductor
item |  | 4.2.1 | Installation of conductor Hare, three conductors per span, including complete attachment of conductors to insulators. | m | 6933 |  |  |  | 45 | 311985 | 6933
#BillEnd#
#BillEnd# | SECTION 4 | TOTAL CARRIED TO SUMMARY PAGE | [7 empty] | 346860
#BillEnd#

## 5
#BillSheet# | [6 empty] | SECTION 5 | 23700 |  | SECTION 5
ColHDR | PAYMENT
ColHDR | REFERS | ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT |  | RATE | AMOUNT
ColHDR | TO | NO
Note |  | 5 | OVERHEAD LINE MATERIALS (COMPLETE STRUCTURES)
IHDR |  | 5.1 | Supply, Deliver and install the following complete structure fitted with all equipment and material as specified
Note |  |  | (Also refer to C 3.6.1.5 Detail Schedule of Structures )
Note |  |  | (All cross arms to be 4.5m)
item | C3.6.1.18.11 | 5.1.1 | PN 6 - DDT 1710 (0Deg) 12m Pole | number | 1 |  |  |  | 1000 | 1000
item | C3.6.1.18.11 | 5.1.2 | PN 8 - DDT 1770 H-Pole (0Deg) 12m Pole | number | 1 |  |  |  | 1000 | 1000
item | C3.6.1.18.11 | 5.1.3 | PN 16 - DDT 1777 (Inline Strain) 14m Pole | number | 1 |  |  |  | 2000 | 2000
item | C3.6.1.18.11 | 5.1.4 | PN (1-5;7;9-15;19) - DDT 1778 (0-60Deg) 13m Pole | number | 1 |  |  |  | 1500 | 1500
item | C3.6.1.18.11 | 5.1.5 | PN 18 - DDT 1778 (0-60Deg) 14m Pole | number | 1 |  |  |  | 2000 | 2000
item | C3.6.1.18.11 | 5.1.6 | PN 17 - DDT 1783 3Pole Trips Strain Configuration 13m Pole (Set of 3) | number | 1 |  |  |  | 2500 | 2500
item | C3.6.1.18.11 | 5.1.7 | Surge Arrestor Assembly H-Pole Structure - DDT - 1844 (4.5m Cross Arm) | number | 1 |  |  |  | 500 | 500
item | C3.6.1.18.11 | 5.1.8 | Temporary Stays (Existing Structures) | number | 1 |  |  |  | 700 | 700
IHDR |  | 5.2 | Supply, Deliver and install the following complete earthing philosophy with all equipment and material as specified
Note |  |  | (Rate to include all material, down conductor, lugs and installation)
item | C3.6.1.18.11 | 5.2.1 | SPARK/BIL Wire gap device ASSY ST - (D-DT-3134) | number | 19 |  |  |  | 500 | 9500
IHDR |  | 5.3 | Surge arrestors:
PB
PB | SECTION 5 | CARRIED FORWARD | [7 empty] | 20700
PB
PB
PB |  | BROUGHT FORWARD | [7 empty] | 20700
PB
Note |  |  | Supply of Distribution Class Surge arrestors MCOV (10kA) (IEC 99-4). Installation of Station Class surge arrestors complete with mounting brackets and earth wire
item | C3.6.1.18.11 | 5.3.1 | Min MCOV 24kV / 10kA / Class 1 (DDT 3100) (Set of 3) (31mm/kV) | number | 1 |  |  |  | 3000 | 3000
#BillEnd#
#BillEnd# | SECTION 5 | TOTAL CARRIED TO SUMMARY PAGE | [7 empty] | 23700
#BillEnd#

## 6
#BillSheet# | [6 empty] | SECTION 6 | 101500 |  | SECTION 6
ColHDR | PAYMENT
ColHDR | REFERS | ITEM | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT |  | RATE | AMOUNT
ColHDR | TO | NO
Note |  | 6 | BASIC OVERHEAD LINE INSTALLATION & EXCAVATIONS
IHDR |  | 6.1 | Basic overhead line installation & excavations
item |  | 6.1.1 | Excavate in all materials for holes for poles, compact and dispose of surplus material | number | 52 |  |  |  | 200 | 10400
item |  | 6.1.2 | Extra over item 6.1.1 for excavating in hard material (Rock Drilling) (Rate to include all pressure drilling equipment etc.) | number | 42 |  |  |  | 250 | 10500
item |  | 6.1.3 | Planting and dressing of specified wooden pole | number | 52 |  |  |  | 300 | 15600
item |  | 6.1.4 | Tree Felling on proposed line route | Lump sum | 1 |  |  |  | 15000 | 15000
IHDR |  | 6.2 | Basic overhead line installation testing
item |  | 6.2.1 | Provide accredited Line Insulation Testing Results | Lump sum | 1 |  |  |  | 15000 | 15000
item |  | 6.2.2 | Provide accredited earthing resistance test results for each pole configuration | number | 20 |  |  |  | 500 | 10000
item |  | 6.2.3 | Provide accredited compaction testing results | Lump sum | 1 |  |  |  | 25000 | 25000
#BillEnd#
#BillEnd# | SECTION 6 | TOTAL CARRIED TO SUMMARY PAGE | [7 empty] | 101500
#BillEnd#

## Summary
#SumSheet# | SUMMARY OF SCHEDULE OF QUANTITIES
BillGrpStart
| SECTION 1 | CONTRACT ADMINISTRATION AND GENERAL REQUIREMENTS | R . . . . . . . . . . . . . . . . . | 488100
| SECTION 2 | CONTRACTOR'S ESTABLISHMENT ON SITE | R . . . . . . . . . . . . . . . . . | 150000
| SECTION 3 | ACSR CONDUCTOR SUPPLY | R . . . . . . . . . . . . . . . . . | 103995
| SECTION 4 | MEDIUM VOLTAGE CABLE AND ACSR CONDUCTOR INSTALLATION | R . . . . . . . . . . . . . . . . . | 346860
| SECTION 5 | OVERHEAD LINE MATERIALS (COMPLETE STRUCTURES) | R . . . . . . . . . . . . . . . . . | 23700
| SECTION 6 | BASIC OVERHEAD LINE INSTALLATION & EXCAVATIONS | R . . . . . . . . . . . . . . . . . | 101500
BillGrpEnd
| TOTAL OF SCHEDULE OF QUANTITIES |  | R . . . . . . . . . . . . . . . . . | 1214155
CONTRACT PRICE ADJUSTMENT
Sum provided in terms of the provisions of
| the General Conditions of Contract . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  | R . . . . . . . . . . . . . . . . . | 91061.625
| SUBTOTAL . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  | R . . . . . . . . . . . . . . . . . | 1305216.625
CONTINGENCIES
The sum provided here is under the sole control of the
| Engineer and may be deducted in whole or in part . . . . . . . . . . . . . . . . . . . . . . . . |  | R . . . . . . . . . . . . . . . . . | 130521.6625
| SUBTOTAL . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  | R . . . . . . . . . . . . . . . . . | 1435738.2875
VALUE-ADDED TAX (VAT)
| The Tenderer shall add 15% of the subtotal for VAT . . . . . . . . . . . . . . . . . . . . . . . |  | R . . . . . . . . . . . . . . . . . | 215360.7431
| CONTRACT SUM CARRIED TO FORM OF TENDER |  | R . . . . . . . . . . . . . . . . . | 1651099.0306
#SumEnd#